Modification history

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AMP Meat Processing Training Package Version 4.0 |

| AMPA415 | Manage biogas facilities |
| --- | --- |
| Application | This unit of competency describes the skills and knowledge required to evaluate and optimise the performance of a biogas collection facility. The unit applies to individuals who are responsible for managing the process of capturing and utilising biogas as an energy source. Those undertaking this unit would work autonomously and have responsibility for the performance and ongoing efficient operation of a biogas collection facility. All work must be carried out to comply with workplace procedures, according to state/territory health and safety regulations, legislation and standards that apply to the workplace. No occupational licensing, legislative or certification requirements apply to this unit at the time of publication. |
| Prerequisite Unit | Nil |
| Unit Sector | Abattoirs |

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Identify workplace biogas requirements | 1.1 Identify biogas requirements for all relevant areas of the workplace 1.2 Determine workplace's ongoing biogas production capability and usage using agreed benchmarks 1.3 Analyse performance data and use to identify trends in workplace requirements. |
| 2. Monitor and control performance of biogas collection system | 2.1 Establish performance standards and indicators using agreed benchmarks and best practice methods 2.2 Monitor impact of upstream conditions on biogas collection system 2.3 Develop and maintain record keeping systems |
| 3. Comply with regulatory requirements for biogas collection facilities | 3.1 Comply with the appropriate State regulations governing gas fuel and odour emissions 3.2 Meet the requirements of the relevant licensing agreements for biogas collection facilities 3.3 Follow workplace health and safety (WHS) regulations for hazards concerning biogas production, storage, transport and use. |
| 4. Comply with the requirements for safe design and operation of biogas facilities | 4.1 Comply with the appropriate Standards governing the design and construction of biogas systems 4.2 Develop and maintain a site-specific Safety Management Plan covering the risks and management associated with a biogas system. |

| Foundation Skills This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria. |  |
| --- | --- |
| Skill | Description |
| Reading | - Comprehend Standards and regulations |
| Writing | - Prepare applications to meet regulatory requirements |
| Oral communication | - Use appropriate language to communicate and provide direction to team members |
| Numeracy | - Read and interpret data related to biogas output and performance |

The Range of Conditions is an optional field. Please delete these instructions and if the unit does not have a range of conditions, please delete the Range of conditions table too.

| Range Of Conditions This section specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |

| Unit Mapping Information |  |  |  |
| --- | --- | --- | --- |
| Code and title current version | Code and title previous version | Comments | Equivalence status |
| AMPA415 Manage biogas collection facilities |  |  | No equivalent unit |

| Links | Companion Volumes, including Implementation Guides, are available at VETNet: [Insert hyperlink for the training package]. See Guidelines for developing training package products for directions on how to find the right hyperlink |
| --- | --- |

| TITLE | Assessment requirements for AMPA415 Manage biogas facilities |
| --- | --- |
| Performance Evidence |  |
| An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has: - analysed biogas requirements of the workplace and the impacts on biogas collection and usage - calculated and analysed biogas usage for planning purposes - developed performance measures for biogas collection facility operations based on decided benchmarks - interpreted and reviewed data captured as part of performance monitoring - identified and applied relevant workplace health and safety, environmental and licensing requirements. |  |

Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of: - principles and methods of biogas production using anaerobic technology - the components of a biogas collection and storage system - regulations and standards applying to biogas capture, storage and usage - uses and requirements for biogas - workplace procedures and systems for measuring the use of captured biogas

Assessment Conditions

Assessment of skills must take place under the following conditions: - physical conditions: - skills must be demonstrated in an operating biogas facility - resources, equipment and materials: - appropriate items of personal protective equipment - specifications: - workplace documents such as policies, procedures, processes, forms - legislation/codes of practice - a minimum of three different forms of assessment must be used. Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

| Links | Companion Volumes, including Implementation Guides, are available at VETNet: [Insert hyperlink for the training package]. See Guidelines for developing training package products for directions on how to find the right hyperlink |
| --- | --- |