Modification history

| Release | Comments |
| --- | --- |
| Release 2 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |
| Release 1 | This version released with AHC Agriculture, Horticulture, Conservation and Land Management Training Package Version 1.0. |

| AHCDRG401 | Coordinate and supervise installation of an irrigation drainage system |
| --- | --- |
| Application | This unit of competency describes the skills and knowledge required to develop and implement irrigation drainage system construction procedures, coordinate, supervise and commission irrigation drainage system installation and supervise work area rehabilitation. The unit applies to individuals who apply specialised skills and knowledge to coordinating and supervising the installation of irrigation drainage systems and have responsibility for the output of others. This includes applying and communicating non-routine technical solutions to predictable and unpredictable problems. No occupational licensing, legislative or certification requirements apply to this unit at the time of publication. |
| Prerequisite Unit | Nil |
| Unit Sector | Drainage (DRG) |

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Develop and implement construction procedures | 1.1 Develop employment and contract management procedures 1.2 Develop procedures for controlling and recording site deliveries 1.3 Develop procedures for recording the hire of plant and equipment 1.4 Determine workplace health and safety procedures, including risk assessment 1.5 Notify client, authorities and agencies of the scheduled works 1.6 Develop procedures for dealing with and minimising environmental impacts associated with construction work |
| 2. Organise resource requirements | 2.1 Nominate tasks and timelines, including the coordination of required resources 2.2 Organise and coordinate labour requirements 2.3 Verify the correct parts and equipment have been delivered to the site and checked 2.4 Select and maintain equipment and machinery 2.5 Allocate tasks to the work team 2.6 Carry out safety induction for the task and site |
| 3. Interpret the irrigation drainage system design for the site | 3.1 Determine the purpose, scale and required output of the irrigation system 3.2 Assess the landscape of the site 3.3 Determine construction requirements and verify with designer 3.4 Select components to meet design specifications and site requirements |
| 4. Supervise preparatory work | 4.1 Interpret plan and supervise preparatory work 4.2 Take levels and plan earth works 4.3 Confirm site is cleaned and marked out 4.4 Confirm drainage structures are pegged out |
| 5. Supervise construction of the drainage system | 5.1 Interpret plan and supervise construction work 5.2 Confirm trenches are excavated to specification 5.3 Confirm earth works are carried out appropriately 5.4 Confirm construction of drainage structures are to specifications 5.5 Inspect the lay out and joining of pipes 5.6 Check fitting and adjustment of fittings and valves and confirm all joints are secured 5.7 Supervise the installation and testing of pumping system |
| 6. Commission the irrigation drainage system | 6.1 Start up the system 6.2 Identify operating faults and take corrective actions as required 6.3 Use testing and monitoring equipment to monitor system performance 6.4 Make adjustments as required |
| 7. Supervise the rehabilitation of the works area | 7.1 Monitor the resurfacing and sealing earthworks 7.2 Confirm the planting and maintenance of vegetation areas have been carried out 7.3 Confirm disposal of waste and surplus materials has been carried out according to workplace procedures |

| Foundation Skills This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria. |  |
| --- | --- |
| Skill | Description |
| Reading | - Identify and interpret information regarding installation requirements for irrigation drainage system |
| Writing | - Develop procedures for employment and contract management, controlling and recording site deliveries, recording the hire of plant and equipment, and dealing with and minimising construction work environmental impacts |
| Oral communication | - Initiate discussions with staff, contractors, suppliers and designer using clear language to communicate installation requirements, tasks, timelines, and procedures |
| Numeracy | - Calculate soil quantity and volume to be removed - Confirm trench excavation against design specifications |
| Navigate the world of work | - Identify and describe own workplace requirements, including safety requirements, associated with own role and area of responsibility - Monitor self and others adherence to workplace requirements including safety requirements |
| Interact with others | - Use appropriate language and communication skills to disseminate information about installation timelines and procedures |

| Unit Mapping Information |  |  |  |
| --- | --- | --- | --- |
| Code and title current version | Code and title previous version | Comments | Equivalence status |
| AHCDRG401 Coordinate and supervise installation of an irrigation drainage system Release 2 | AHCDRG401 Coordinate and supervise installation of an irrigation drainage system Release 1 | Minor changes to performance criteria and foundation skills | Equivalent unit |

| Links | Companion Volumes, including Implementation Guides, are available at VETNet: https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72 |
| --- | --- |

| TITLE | Assessment requirements for AHCDRG401 Coordinate and supervise installation of an irrigation drainage system |
| --- | --- |
| Performance Evidence |  |
| An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has coordinated and supervised the installation of an irrigation drainage system on at least one occasion and has: - conducted a workplace health and safety risk assessment - developed operational procedures - documented requirements for structures - estimated quantities and volumes of soil to be moved - implemented employment procedures - interpreted irrigation designs - supervised workers in: - earth moving and construction procedures - power and pumping plant installation - pump and gated pipe installation - construction of canals, channels, head ditches, beds, check structures, and tailwater holding ponds. |  |

Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of: - principles and practices of irrigation drainage system installation - components used in drainage systems - drainage appliances, fixtures and fittings - isolation processes and procedures - levelling and alignment processes - types and operational parameters of drains - environmental impacts and role of drainage systems - measuring and monitoring procedures for factors contributing to drainage system performance - regulatory requirements, codes of practice and relevant workplace service standards relating to blockage removal, disconnection and reconnection activities - soil moisture measurement procedures - water authority standards and procedures - water quality monitoring methods and techniques - water table and salinity measures.

Assessment Conditions

Assessment of skills must take place under the following conditions: - physical conditions: - a workplace setting or an environment that accurately represents workplace conditions - resources, equipment and materials: - regulatory requirements, codes of practice, workplace service standards, and procedures applicable to the installation of an irrigation drainage system - water authority standards and procedures - workplace procedures applicable to health and safety in the workplace and installation of an irrigation drainage system - specifications: - irrigation drainage system design specifications - timeframes: - according to the job requirements. Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

| Links | Companion Volumes, including Implementation Guides, are available at VETNet: https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72 |
| --- | --- |