Modification history

| Release | Comments |
| --- | --- |
| Release 1 | This version released with AHC Agriculture, Horticulture and Conservation and Land Management Training Package Version 4.0. |

| AHCIRG3XX | Install gravity fed irrigation systems |
| --- | --- |
| Application | This unit of competency describes the skills and knowledge required to install gravity fed irrigation systems. The unit applies to individuals who install gravity fed irrigation systems under broad direction and take responsibility for their own work. No occupational licensing, legislative or certification requirements apply to this unit at the time of publication. |
| Prerequisite Unit | Nil |
| Unit Sector | Irrigation (IRG) |

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Organise resources for installation work | 1.1 Interpret plan, including identifying potential hazards and risks and implementing safe working practices to manage risks 1.2 Select and use required materials, tools equipment and machinery and check for safe operationsCheck water supply is compatible with system specifications 1.3 Select, fit, use and maintain safety and personal protective equipment applicable to the task 1.4 Check water supply is compatible with system specificationsSelect, fit, use and maintain safety and personal protective equipment applicable to the task |
| 2. Set out and prepare site | 1.5 Measure and mark out structures and peg earthworks 1.6 Prepare and maintain beds, diversion and conveyancing structures 1.7 Install diversion and conveyancing structures, channels and beds 1.8 Prepare bed surface using roto-buck 1.9 Test structures for configuration, flow rates and capacity |
| 3. Complete water measurement and tail-water works | 3.1 Install water measurement structures 3.2 Install channels and tail water storages 3.3 Install pumping equipment, lines and filters 3.4 Confirm that the system configuration and capacity matches the installation plan 3.5 Complete earthworks and structures |
| 4. Operate pumps and siphons | 4.1 Prime pumps and open or close valves and controls 4.2 Position and set up pipes, system equipment and outlets 4.3 Prime and start siphons and other delivery mechanisms 4.4 Implement start up sequence and slowly build up water levels and pressure 4.5 Check pressure at the head-works and control valves 4.6 Distribute water evenly to the targeted areas with minimal wastage and run-off 4.7 Irrigate area and observe time lag between shut down and end of watering to minimise run-off and deep percolation |
| 5. Measure and interpret water levels, flow rates and volume of water used | 5.1 Monitor and maintain head water levels 5.2 Confirm that all water outlets are operating correctly 5.3 Replace or clear blocked inlets and outlets 5.4 Measure and record flow rates and water usage 5.5 Implement irrigation changes as required |

| Foundation Skills This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria. |  |
| --- | --- |
| Skill | Description |
| Reading | - Interpret textual information from a range of sources to identify relevant and key information about workplace operations |
| Oral communication | - Initiate discussions with supervisor using clear language to report installation activities and communicate blockages |
| Numeracy skills | - Measure structures and water levels - Record water flow rates and water usage |
| Navigate the world of work | - Recognise and follow workplace requirements, including safety requirements, associated with own role and area of responsibility |
| Interact with others | - Use appropriate language and communication skills to disseminate information about system damage and blockages |

| Unit Mapping Information |  |  |  |
| --- | --- | --- | --- |
| Code and title current version | Code and title previous version | Comments | Equivalence status |
| AHCIRG3XX Install gravity fed irrigation systems Release 1 | Not applicable | New unit | No equivalent unit |

| Links | Companion Volumes, including Implementation Guides, are available at VETNet: https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72 |
| --- | --- |

| TITLE | Assessment requirements for AHCIRG3XX Install gravity fed irrigation systems |
| --- | --- |
| Performance Evidence |  |
| An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has installed gravity fed irrigation systems on at least one occasion and has: - adjusted and monitored check valves - built and maintained irrigation structures, channels and beds - checked pressure at the head works and control valves - identified variations in water flow and distribution - installed pumps and pipelines - measured water usage - performed system commissioning tasks - prepared irrigation beds - start and moved siphons and spiles and checked flow - start up the system - used roto-buck for bed preparation. |  |

Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of: - safe working practices applicable to installing gravity fed irrigation systems - machinery operation and maintenance manual - behaviour of water on varying terrain and soil types - calculations for installing surface irrigation systems - characteristics and operation of components - components of a surface irrigation system - soil characteristics - soil water retention testing techniques - water quality and water filtration techniques - environmental impacts of irrigation installation - surface irrigation system components - .

Assessment Conditions

Assessment of skills must take place under the following conditions: - physical conditions: - a workplace setting or an environment that accurately represents workplace conditions - resources, equipment and materials: - work instructions and workplace procedures applicable to installing gravity fed irrigation systems - gravity fed irrigation system materials, tools equipment and machinery - gravity fed irrigation pump system tools and equipment and procedures - personal protective equipment applicable to installing gravity fed irrigation systems - specifications: - machinery operation and maintenance manual - environmental procedures for collection, treatment, disposal or recycling of waste - timeframes: - according to job requirements. - Assessors of this unit must satisfy the requirements of assessors in applicable vocational education and training, legislation, frameworks and/or standards.

| Links | Companion Volumes, including Implementation Guides, are available at VETNet: https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=c6399549-9c62-4a5e-bf1a-524b2322cf72 |
| --- | --- |