Modification history

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FWP Forest and Wood Products Training Package Version 4.0. |

| uNIT cODE | FWPTMM5XXX Design prefabricated timber building systems for compliance, off-site manufacture and on-site installation |
| --- | --- |
| Application | This unit of competency describes the skills and knowledge required to design panelised and/or modular prefabricated timber building systems to meet structural and safety compliance, off-site manufacture and on-site installation. The main job functions are to facilitate collaborative design and achieve detailed and integrated design solutions for prefabricated timber building systems. The unit applies to individuals who work as designers in a building design team. These include architects, design engineers, draftspersons, structural engineers, building services engineers and architectural technicians. They demonstrate deep knowledge in a specific technical area and analyse, design and communicate solutions to sometimes complex problems. This unit does not cover or replace the basic design skills required in the architecture and building industry but is to be used in conjunction with building design qualifications. No occupational licensing, legislative or certification requirements apply to this unit at the time of publication. |
| Prerequisite Unit | Nil |
| Unit Sector | Timber Manufactured Products |

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Interact with supply chain stakeholders to design prefabricated timber building systems | 1.1 Communicate with the developer during the design process to ensure that prefabricated timber building system is fully fit for purpose and meets client functional requirements 1.2 Use BIM system and conduct further collaborative analysis with the fabricator, builder, component suppliers and regulators to achieve a design configuration that allows for lean processes during all stages of timber building system life cycle, meets regulations and does not complicate other design considerations 1.3 Ensure that the design accounts for fabrication capabilities 1.4 Implement a continuous improvement process during the design life of prefabricated timber building system to report, record and resolve issues |
| 2. Determine design solutions and specifications for structural compliance | 2.1 Determine the National Construction Code (NCC) Performance Requirements for structural robustness, which the prefabricated timber building system and its components need to satisfy 2.2 Discuss structural design actions with appropriate engineers to ensure that the prefabricated timber building system meets the minimum NCC structural requirements and performs without risks when used as intended through its design life 2.3 Obtain experimental and observational data for the strength of materials, structural components, connections or assemblies to determine design values and consult with appropriate engineers to indicate the actual robustness and reliability of the physical building system 2.4 Contribute to the design verification for structural compliance and process documentation in line with the NCC, standards and codes to facilitate design certification and approvals 2.5 Determine durability requirements for the materials of prefabricated timber building system in line with the nominated design life and planned maintenance and ensure that they are specified in design documentation for prefabricators |
| 3. Determine design solutions and specifications for safety compliance | 3.1 Conduct risk assessments early in the design process to determine hazards to health and safety during all stages of prefabricated timber building system life cycle in line with the workplace health and safety laws, regulations and the NCC 3.2 Determine and apply health and safety design control measures in line with standards, codes and technical guides to eliminate or minimise health and safety risks during all stages of prefabricated timber building system life cycle 3.3 Verify design documentation and ensure that health and safety provisions are specified for all stages of prefabricated timber building system life cycle in line with standards, codes and technical guides 3.4 Verify design documentation and ensure that detailed maintenance provisions are specified for all components of the prefabricated timber building system being designed in line with its intended functions |
| 4. Determine design solutions and specifications for services | 4.1 Determine the NCC Performance Requirements for fire resistance and acoustic and thermal properties, which the prefabricated timber building system and its components need to satisfy 4.2 Verify design documentation and ensure that intended materials, separations, insulations, fire warnings and fire-fighting management systems are specified for the required fire, acoustic, thermal and waterproofing performance in line with standards, codes and technical guides 4.4 Use design control actions to mitigate any possible effects of transportation, handling, on-site installation or maintenance on the integrity of intended connections, insulations or materials 4.3 Determine early in the design phase where points of entry are required in the prefabricated timber building system, components and materials for services installation 4.5 Verify design documentation and ensure that installation and connections provisions are specified for each service in line with standards, codes and technical guides 4.6 Verify the design and ensure that all tolerances for the prefabricated timber building system and its components are specified in line with standards to facilitate off-site manufacture and on-site installation 4.7 Verify and ensure that testing, approval and compliance certification for installation of services, partitions and floor elements are performed to the appropriate standards for thermal, acoustic and fire performance and in line with local requirements prior to on-site installation |
| 5. Determine design solutions and specifications for transportation and on-site installation | 5.1 Determine maximum dimensions and weight for the building system being designed to meet restrictions provided by transportation vehicles, lifting plants, road configuration around the construction site and local regulations 5.2 Ensure that lifting requirements are specified for all stages of prefabricated timber building system life cycle in the design documentation and they are in line with the NCC to facilitate and maintain prefabricated timber building system integrity and adequate performance 5.3 Determine the effects of cargo restraints and exposure to acceleration forces on the strength (structural attributes) of prefabricated timber building system during transportation and use design control actions to allow for the forces applied 5.4 Verify the design and ensure that necessary restraint conditions during transportation and residual risks to the prefabricated timber building systems resulting from transportation are specified 5.5 Ensure that the sequence for the installation of prefabricated timber building systems and components is specified in design documentation |

| Foundation Skills This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria. |  |
| --- | --- |
| Skill | Description |
| Oral communication | communicate information verbally and in writing about complex detailed technical design information |
| Numeracy | conduct complex structural design calculations |
| Navigate the world of work | monitor adherence to legal and industry standards and responsibilities |
| Interact with others | identify the perspectives of others as part of work role seek specialist input into problem solving and decision making |
| Get the work done | use 3D models, Building Information Modelling (BIM) or computer-aided design (CAD) tools to design, monitor design processes and access and organise complex design data |

| Unit Mapping Information |  |  |  |
| --- | --- | --- | --- |
| Code and title current version | Code and title previous version | Comments | Equivalence status |
| FWPTMM5XXX Design prefabricated timber building systems for compliance, off-site manufacture and on-site installation | Not applicable | New unit | Not applicable |

| Links | Companion Volumes, including Implementation Guides, are available at VETNet: https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=0d96fe23-5747-4c01-9d6f-3509ff8d3d47 |
| --- | --- |

| TITLE | Assessment requirements for FWPTMM5XXX Design prefabricated timber building systems for compliance, off-site manufacture and on-site installation |
| --- | --- |
| Performance Evidence |  |
| An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit. There must be evidence that the individual has assessed complete sets of timber building design documentations for two construction projects relating to different classes of buildings that, as defined in the NCC, allow the use of one or more panelised or modular prefabricated timber building system types including: cross laminated timber floor and wall systems post and beam systems (Glulam, laminated veneer lumber) panelised floor cassette systems panelised wall systems (including cladding, insulation, windows or doors) panelised and pre-finished wall system (inclining above, electrical, mechanical, plumbing or lining) pre-finished and fully finished timber-based modules In doing the above, the individual has: determined and confirmed whether the design is fit for purpose and meet capabilities within supply chain regarding prefabrication, storage, transportation and on-site installation determined the compliance requirements of physical prefabricated timber building system for: structural robustness durability fire resistance and acoustic and thermal properties health and safety hazards during all stages of life cycle transportation assessed whether the design provides adequate solutions to meet all compliance requirements, determining design actions in line with standards to fill the design gaps verified design considerations regarding services installation and mitigation of possible effects during transportation, handling, on-site installation or maintenance verified the level of provisions in design documentation to demonstrate or specify: structural compliance health and safety information for each stage of prefabricated timber building system life cycle prefabricated timber building system and components maintenance during prefabricated timber building system design life materials, separations, insulations, fire warnings, fire-fighting management system for required fire, acoustic, thermal and waterproofing performance installation and connections requirements for each service tolerances for prefabricated timber building system and its components lifting requirements for each stage of prefabricated timber building system life cycle restraint conditions during transportation installation sequence for prefabricated timber building systems and components. |  |

Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of: basic uses of BIM software for sharing and coordinating information among stakeholders during prefabricated timber building system life cycle principles of collaborative design analysis: Design for Manufacture and Assembly (DfMA) lean processes (off-site manufacture, storage, transportation and on-site installation) Failure Mode and Effects Analysis (FMEA) readily available prefabrication technologies for different types of prefabricated timber building systems (2 and 3-Dimensional) and components including: structural timber cross-laminated timber (CLT) laminated veneer lumber (LVL) Glulam I-Joists floor trusses services windows, glazing, plasterboard relevant legislation, standards and technical design guides or codes for: structural design of prefabricated timber buildings and systems implementation of safe design principles installation of hydraulic, electrical, mechanical, fire protection and acoustic systems transportation restrictions and load restraint requirements NCC Performance Requirements for prefabricated timber building systems as classified via their function: structural robustness structural safety fire resistance, thermal performance and acoustic performance testing-based design approaches as outlined in relevant standards with reference to: NCC assessments, calculations and evidence requirements for controlling the risk of structural failure and safety fire, acoustic, thermal resistance and waterproofing testing of prefabricated timber building systems for complying with standards considerations and industry-accepted design solutions for prefabricated timber building systems (including structural and non-structural timber components and connections) as required by NCC, standards and technical design guides for: structural robustness, verification methods and traceability of risks structural durability with reference to environmental and specific conditions affecting durability of timber components and connections, high risk areas within the building structure (including bathroom and external walls), specific hazards (particularly insect and fungal attack, weathering, moisture exposure and fire) and solutions considering preservative treatments, moisture contents, weatherproofing insulations and cladding fire engineering measures, sound propagation and thermal resistance with reference to structural deflection of fire-rated elements and use of fire, vibrational/acoustical and thermal insulations; relevant design procedure for joint/connections involving timber structures to retain the integrity of insulation, material and system while considering effects of transport, handling and installation processes on connections acceptable tolerances for material quality, off-site manufacture and on-site installation services installation (hydraulic, electrical, mechanical, fire protection and acoustic systems) health and safety risks in relation to off-site manufacture, storage, transportation, on-site installation, use and maintenance of prefabricated timber building system transportation and lifting requirements with reference to different load characteristics and appropriate road trucks and cranes or lifting plants, factors influencing lifting stability, behaviour/fatigue of timber and connections to temporary lifting loads, load restraint methods and friction factors affecting on strength resistance and structural response of prefabricated timber building system design provisions and technical specifications as required by the Safe Design of Structures Code of Practice, NCC and other standards and technical guides for any person who carries out work activities in relation to a prefabricated timber building system: health and safety provisions connections specifications design tolerances and specifications thermal, acoustic and fire compliance provisions transport and handling modes including lifting and stacking specifications installation sequencing provision maintenance provision.

Assessment Conditions

Assessment of skills must take place under the following conditions: resources, equipment and materials: timber building design documentation for two construction projects relating to different classes of buildings that allow the use of panelised or modular prefabricated timber building systems computer with internet access and software currently in use in building design practices to view and print 3D models, finite element models, 2-D CAD drawings and design documentation access to current publications on measurement, design, building construction and manufacturers product literature timber building design specifications access to relevant codes, standards and government regulations. Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

| Links | Companion Volumes, including Implementation Guides, are available at VETNet: https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=0d96fe23-5747-4c01-9d6f-3509ff8d3d47 |
| --- | --- |